## Slide 1: Pretreatment and Consent Orders - Helping to reach Compliance Randy Bradley, City Corporation Wastewater Operations Manager

## Slide 2: Pretreatment programs play an important part in a wastewater treatment plants ability to maintain compliance. This presentation will provide brief history of City corporation’s consent order and how the pretreatment department assisted in some corrective actions

## Slide 3
Fall of 2009 ADEQ issued CAO 09-146
Some of the factors that caused the CAO to be issued were:
  SSO’s
  WW Plant discharge violations – most related to excess flow

## Slide 5
January 2010 City Corporation submitted a Comprehensive Corrective Action Plan
  Included in this plan were actions to find and reduce sources of I & I
  Pretreatment Department tasked with finding possible I & I from industrial sources.

## Slide 6
So what did we do???
  Include storm water questions into routine industry inspections
  Meeting with all industries asking for assistance and removing any known source of I&I
  Cross-connection/Backflow inspections looking for any source of I&I – found leak on fire system line leaking into manhole

## Slide 7
What were the results of our efforts??
  Ammonia leak at a large industry – found its way to the treatment plant
  Businesses pumping storm water to their cleanout
  Parking lots, truck and trailer washouts
  Others

## Slide 16
Efforts continue today
  Compliance schedule in new discharge permit for local industry to remove all storwwater from facility – currently going to the collection system
  Continue to educate businesses and industries on cost associated with stormwater going to collection system
  Continue looking !!!

## Slide 17
Questions?